Data Transmission Series

User Manual

Model : RS001R

RS485 Data Repeater

Introduction

RS001 is a data converter that converts RS232 to RS485 signal without power required and also carrys the signal to 1200M away...

Features

- Converts RS232 to RS485 signal.

- Supports up to 115200 bps baud rate.

- Signal extension up to 1200M.

- No power required..

Installation View

Panel View

Note: When using RS001R the responding RS-485 device must wait for the auto transmit enable to revert back to the receive state.  If the responding RS-485 device transmits a packet back less than one byte time after the end of the packet, then there is possibility of a data collision on the RS-485 interface.

Specification

| ITEM NO. | RS001R |
| --- | --- |
| Support |  |
| Standard | RS485 |
| Max. Baud Rate | 115200 bps |
| Max. Transmission Distance | 1200M for each RS001R added |
| Ports & Interfaces |  |
| Data Input | 1 x Terminal Block |
| Data Output | 1 x Terminal Block (1V p-p, 75Ω) |
| Power Interface | 1 x DC Jack |
| Power |  |
| DC Power Voltage | +10 to 20V |
| Power Supply | DC 12V 500mA |
| Power Consumption | 100mA (Max) |
| Ambient Temperature |  |
| Operation | 0 to 55℃ |
| Storage | -20 to 85℃ |
| Humidity | Up to 95% |
| Physical Characteristics |  |
| Dimensions | 67 x 87 x 27mm |
| Weight | 130g |